005 Directory %s does not exist

020 Password incorrect for user %s %s, please re-enter the password

025 User %s %s doesn't have administrative rights to access the system, please select another user

070 Make sure that your flash memory is in the computer to properly BACKUP the data to directory %s

071 The flash memory isn't in the computer or directory %s doesn't exist. BACKUP to flash memory may not be possible

072 Completed data backup in DATA directory to %s directory

080 The system will shut down to reindex the database on re-entering

100 The lab ID number doesn't exist in data file

110 The barcode %s doesn't exist in the lab data file, something is awfully wrong

120 This option can't be used because the result for the first reading was already entered

125 This option can't be used because the result for the first reading hasn't been entered

130 This option can't be used because the result for the first reading hasn't been entered

135 This option can't be used because the result for the second reading was already entered

140 This option can't be used because the result for the second reading hasn't been entered

145 This option can't be used because the result for the first or second reading hasn't been entered

150 This option can't be used because the result for the discordant reading was already entered

155 This option can't be used because the result for the discordant reading hasn't been entered

160 This option can't be used because the first and second readings are not discordant

200 The test should be classified as positive or negative

201 The count of asexual parasites can't be zero

202 For asexual count less than 100 the number of WBC has to be at least 500

205 For asexual count greater or equal to 100 the number of WBC has to be at least

210 Invalid code for the parasite

220 Select a valid technician code

230 Lab technicians for the first and second readings should be different

240 Lab technicians for the first and second readings should be different than the one reading the discordant

245 An explanation is needed when the sample is declared as unusable

250 If result for the first reading is other the second has to be other and visceversa

300 Blood sample %s/Lab-Id %d is already in the database

320 Bar code %s not in correct format or wrongly entered, please reenter

330 Warning: Lab ID entered (%d) differs from that expected (%d), please check before continuing